## Slide 1: Enfuvirtide Needle-Free Injection Device (NFID) versus Needle BOSS Study

## Slide 2: Enfuvirtide Needle-Free Injection Device vs. Needle/Syringe BOSS: Study Design
Source: Lalezari JP, et al. AIDS Res Hum Retroviruses. 2008;24:805-13.
NFID group (n = 232)
NS  NFID group (n =117)
Study Design: BOSS
Background: Open-label, single-arm, crossover phase 4 study comparing the injection site reaction signs and symptoms of enfuvirtide when administrated with a standard needle/syringe versus a needle-free injection device (NFID) in enfuvirtide-experienced patients Inclusion Criteria (n = 349) - Age ≥ 16 years of age - Difficulty tolerating long-term (>4 weeks) enfuvirtide with standard needle/syringe - Willing and able to self-inject enfuvirtide (or had a caregiver) Treatment Arms - ENF 90 mg SC BID via NFID - ENF 90 mg SC BID via NS x 4 weeks, then switch to NFID
BOSS = Biojector 2000 Open-label Safety Study
Needle/syringe
Needle-free injection device
Start Week 4 Week 8
2x
1x
1x

## Slide 3: Enfuvirtide Needle-Free Injection Device vs. Needle/Syringe BOSS: Result
Participants Meeting Composite Primary Endpoint*
Source: Lalezari JP, et al. AIDS Res Hum Retroviruses. 2008;24:805-13.
Chart: Participants (%)
| Baseline | Week 4 | Week 8
NFID group | 40.1 | 25.4 | 21.2
NS --> NFID group | 36.5 | 45.1 | 26.1
*Composite primary endpoint = grade 1–3 ongoing pain and either grade 3–4 induration (>25 mm) or grade 2–4 nodules/cysts ( ≥20 mm)

## Slide 4: Enfuvirtide Needle-Free Injection Device vs. Needle/Syringe BOSS: Result
Injection Site Reaction (ISR) Score: Between-participant comparison
Source: Lalezari JP, et al. AIDS Res Hum Retroviruses. 2008;24:805-13.
Chart: Mean Overall ISR Score
| Baseline | Week 4
NFID group | 20.5 | 15.3
NS --> NFID group | 19.7 | 19.2

## Slide 5: Enfuvirtide Needle-Free Injection Device vs. Needle/Syringe BOSS: Result
Injection Site Reaction (ISR) Score: Within-participant comparison
Source: Lalezari JP, et al. AIDS Res Hum Retroviruses. 2008;24:805-13.
Chart: Overall ISR Score
| Baseline | Week 4 | Week 8
NS--> NFID group | 19 | 19 | 11.4

## Slide 6: Enfuvirtide Needle-Free Injection Device vs. Needle/Syringe BOSS: Conclusions
Source: Lalezari JP, et al. AIDS Res Hum Retroviruses. 2008;24:805-13.
Conclusions: “NFID is an alternative injection method that may reduce the incidence and severity of treatment-limiting ISRs associated with ENF administration.”